Exploring Powerline Networking
for the Smart Building
Pat Pannuto
ppannuto@eecs.umich.edu
Prabal Dutta
prabal@eecs.umich.edu

---
The Smart Building: How and Why?
- Better understanding of “resource” utilization and quality
  - Resources: Space, power, lighting, etc...
- Instrument a building with sensors
  - Occupancy
  - Lighting
  - AC Load Monitoring
  - ...
[Speaker Notes: What benefits do we get from a “Smart” building Most everything is over-engineered: Bridges to hold more than their load, transistors to last well beyond their lifetime... Buildings to hold more people than are inside them?? It is hard to optimally use a building. Not just space, but Power distribuition Fair to assume 3 sets of 20 offices use same power? If we have data, we can use the data to understand a building's usage But we need data → sensors]

---
Example: UofM Music School
- Needs to understand and optimize use of practice rooms
  - Occupancy
  - Temperature
  - Humidity
- Deployment
  - Epic + sensors + BLIP + Battery
  - Adds sensor lifetime: 6 months+?
- Wireless #1 power draw: Idle listening
[Speaker Notes: A recent deployment at the University of Michigan, the music school has a couple hundred students, but a limited number of practice rooms How to optimize? Need data! Sensor networking is reaching a point where it's “fairly easy” to “spin up” a sensor to poll the data you're interested in Sensors need power, usual solution is a battery, batteries have a limited lifetime – now your sensor does too. Adding a solar panel doesn't fix the situation; how long can a sensor report “no light here” with a solar panel?]

---
Why not network growing cadre of
plug load meters over power lines?
- Lots of AC meters: UCB, Stanford, Arch Rock, JHU, Colorado School of Mines, etc.
- All use one interface for sensing, another for power, but…could
  - Use PLC to network
  - Remove meters from crowded spectrum
  - Lets usage follow

---
Powerline Communications (PLC) is better suited than wireless
- Power is ubiquitous in buildings
- PLC is informative technology
  - Learns building topology
- (Functionally) PLC is
  - Single hop
  - Fully connected
[Speaker Notes: With this in mind, we argue that PLC is better suited as a sensor net backbone in modern buildings In a building, power is ubiquitous and readily available, adding a sensor to a room is as easy as plugging it in As I will show later in this talk, PLC by the nature of the technology infers more information about a building PLC networks are fully connected, massively simplifying routing / etc. Current sensor networks have to build a wireless mesh and then figure out how to route packets to the edge node connecting the sensor net to the collection system / station This also make PLC networks much faster at covering large geographic distances.]

---
PLC History
Technology	PHY Speed	Modulation	Application Space
X10	20 bps	ASK	Home Automation
Insteon	2,880 bps	BPSK	Home Automation
Ariane	30 kpbs	FSK	Building Automation
HomePlug 1.0	14 Mbps	OFDM	IPoP
HomePlug AV	200 Mbps	OFDM	IPoP
Current PLC deployments are in the home, not buildings
[Speaker Notes: It is interesting now to briefly examine the history of PLC. The idea of sending data over powerlines is not new; indeed the first technology – X10 – emerged in the 1960s. This first technology used the 60Hz AC wave as a carrier; inducing small voltage changes on the zero-crossing of the AC sine wave. As technology improved, however, the AC wave quickly transitioned from, “free, simple, common, synchronous carrier” to “noise” In the early 1990s, Insteon revealed its technology. X10's extremely low data rate and other limitations made it difficult to control more than 10 lights easily; Insteon's technology pushed this envelope enough to allow for modern home automation enthusiasts to control their entire homes, but not much more Ariane controls, founded around the turn of the century, is much like Insteon, another iterative improvement achieving about an order of magnitude improvement in transmission speed. The radical change came around 2003 with the introduction of the HomePlug 1.0 standard, the first PLC technology fast enough to facilitate modern high speed communications over powerlines A few years later, HomePlug AV iterated again, making PLC technology competitive in speed with wireless technology It is on these latter two technologies – HomePlug 1.0 and HomePlug AV – that the rest of this talk will focus]

---
Understanding PLC
 Powerstrip “Strong” “Weak”
HomePlug AV HomePlug 1.0
[Speaker Notes: First, we briefly examine the limits of PLC. Here we are comparing two different PLC modems – a Netgear running the HomePlug 1.0 standard and a ZyXEL running the HomePlug AV standard – and observing the spectra they produce under various conditions. The ZyXEL modems were capable of indicating a “weak” connection, an idea I will return to later on in this talk In the first column, the two modems are connected via a powerstrip; requiring very little effort – that is, low amplitude – to establish a connection In the second column, a strong connection is established in a real-building setting. This connect is crossing from one side of the CSE building at Michigan to another In the third column, we see what was indicated to be a “weak” connection. We observe the spectra of the weak connection to be nearly identical that of the strong connection, which indicates that the modem was likely transmitting at full or near full power to establish the strong connection and was unable to boost power more in the weak connection case.]

---
PLC in a Home vs a Building:
The Good
Student's Apartment
CSE Building

---
PLC in a Home vs a Building:
The Bad
- Homes: simple
  - One “power domain”
  - Supply:
    - 120V
    - 1 phase + neutral
  - Outlet:
    - 120V
    - 1 phase + neutral
- All outlets can “see” each other
- Buildings: complex
  - Multiple “power domains”
  - Supply:
    - 480V
    - 3 phase, no neutral
  - Outlet:
    - 120V
    - 1 phase + neutral
- Outlets in the same room cannot “see” each other!

---
The Experiment
- Plug into outlets “round-robin” and see what's connected
- Node names match blueprints
  - These will be important soon

---
Observed Connectivity

---
CSE Power Distribution

---
Delta-Wye Transformer
- Adds a neutral reference to 3-phase power
- One Neutral for all 3 phases
  - Likely why PLC works
Image c/o Wikipedia

---
Observed Connectivity Explained

---
Result: Connectivity → Topology
- Power distribution can be counter-intuitive
  - Two outlets in the same room may be on different power networks
- PLC connectivity reveals power distribution topology
- But...
  - Now we have disjoint subnetworks

---
Using Wireless to Bridge the Gaps
- PLC connectivity is orthogonal to geography
  - Two outlets that could not electrically “see” each other can physically “see” each other

---
Future Work:
Taking it One Step Further
- Add wireless and PLC to every outlet
  - Removes idle listening requirement for other sensors
  - PLC network become wired and wireless sensor network backhaul
- Weird Topology
  - Mesh? Route? ...how?

---
Looking ahead: PLC for deep
demand response of Smart Buildings
- Future Smart Grid
  - Bi-directional data exchange between bldg sources/sinks and utility systems
  - Dynamic response based on local grid conditions
- PLC networks
  - Enable “data follows wires”
  - Reduce virtual/physical gap, need to keep two in sync
  - Auto-discover loads and topology, even if they move
  - Simplify mapping of virtual load “names” to physical load “locations”

---
Conclusions
- PLC is feasible as a sensor network backhaul
  - If subnetworks can be connected
- Commercial buildings are more electrically complicated than homes
- PLC cannot cross transformers
  - But can cross phases
  - And sometimes connects wirelessly (!)

---
Questions?
Pat Pannuto
ppannuto@eecs.umich.edu
Prabal Dutta
prabal@eecs.umich.edu